In-Gel Digestion Sample Requirements

The minimum amount of protein required for MS analysis is 50 ng. It is difficult to get confident results with lower amounts with our current instrument sensitivity.

Both Coomassie blue or fluorescent dyes such as SYPRO Ruby are compatible with enzymatic digestion and mass spectrometry, however, SYPRO Ruby stain is more sensitive than Coomassie blue stain. Silver stain is not recommended because silver can be covalently conjugated to proteins and is difficult to be removed, which will affect the MS results.

Excised spots or bands from fixed gel should be kept in drops of HPLC grade or Millipore® water and stored at 4(C. To prevent contaminations from dust or keratin, work under clean conditions. Please send us samples along with a complete sample submission form indicating service item, sample information and contact information, and gel images. We will send you the MS result by fax or e-mail usually within one or two weeks from reception of your sample.